APPENDIX G:

MATLAB CODE USED TO EVALUATE NONLINEAR INDICATORS

This appendix provides the MATLAB code that was used to calculate and evaluate the different nonlinear indicators.  The code corresponds to the discussion of the experimental results in Chapter 7.

# Main Program

clear

close all

%This is the program that will evaluate each transducer data set

%in terms of the nonlinear index.

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Determine the voltage data files and the pressure data files    % %that will be used.                                              %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

info='00068, f/#=1, f ~ 6 MHz';

%Transducer ckt data

file='/dunn/bigelow/Transducer_impedance/00066.mat';%file RLC info

load(file); %Load RLC values and resonance frequency

%Location of data files.

path='/dunn/bigelow/nonlinear_data/00066/11-10-01b/';

%The voltage will be the voltage waveform that has been applied to

%the real transducer

v_file='v00066p3_';

%The pressure will be the pressure waveform measured at the focus

%of the transducer

p_file='00066p3_';

%Water temperature

Tc=20.288; %in C

c=CfromT(Tc);

%Transducer parameters

a=0.9525e-2; %Transducer radius in m

%Error parameters

dc=5.0125; %Variation in p_c extrapolation (total width +-dc/2)

dr=1.3139; %Variation in p_r extrapolation (total width +-dr/2)

da=3.2124; %Variation in p_avg extrapolation (total width +-da/2)

%Flag for including pa in plots

pa_in=1; %1 to include

%*************************************************************

%Settings for RA-30/Attenuators

RA30={'30_' '24_' '18_' '12_' '06_' '00_'};

ritec={'02' '06' '10' '14' '18' '22' '30' '38' '46' '54' '58'…

'62' '66' '70' '78' '86'};

%Calibration factor

cal_factor=0.0425; %V/MPa for the Hydrophone.

%Code paramters

Npol=8; %Degree of polynomial to fit extrapolation error data.

extrap_err=10; %Extrapolation error in %

ref_low=1; %The low voltae reference for the relative NI

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Load in the data                                                %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

di=0;

P=[];

for ii=1:length(RA30)

for ji=1:length(ritec)

dat_p=[path p_file char(RA30(ii)) char(ritec(ji)) '.txt'];

dat_v=[path v_file char(RA30(ii)) char(ritec(ji)) '.txt'];

fid_p=fopen(dat_p,'r');

if fid_p~=-1

di=di+1;

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Read in the data

%Get close pressure data

A=fscanf(fid_p,'%f',[2,inf]);

p=1e6*(A(2,:)-mean(A(2,:)))/cal_factor;

t=A(1,:);

%Determine some important pressure values

pc(di)=max(p);

pr(di)=abs(min(p));

pa(di)=(pc(di)+pr(di))/2;

P=[P p'];

%Determine frequency of maximum pressure value.

f_peak(di)=find_fpeak(p,t);

%Get voltage data

fid_v=fopen(dat_v,'r');

B=fscanf(fid_v,'%f',[2,inf]);

v=100*(B(2,:)-mean(B(2,:)));

tv=B(1,:);

%Determine some important voltage values

v_pp(di)=(max(v)-min(v));

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Determine extrapolation factor                         %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Find the signal values assuming an RLC circuit

%Determine value for each frequency

Vs=fft(v);

M=length(Vs);

%Find corresponding freq. values

d_f1=[0:(M/2-1)]*2*pi/M;

d_f2=[(M/2):(M-1)]*2*pi/M - 2*pi;

d_f=[d_f1 d_f2];

dt=tv(2)-tv(1);

freq=d_f*(1/dt)/(2*pi);

%Now for each frequency, find the voltage accross R

for fi=1:length(freq)

w=freq(fi)*2*pi;

if abs(w)<1e-12

Vout(fi)=0;

else

Zc1=R1 + j*w*L1 + 1/(j*w*C1);

Vout(fi)=(R1/Zc1)*Vs(fi);

end

end

%The voltage value at the maximum frequency

%(Scaled for better fitting)

volt(di)=max(abs(Vout))/1000;

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Calculate F, alpha, and G

[m1,n1]=max(abs(p));

[m2,n2]=max(abs(v));

time_prop=t(n1)-tv(n2); %Determine propagation time

F=c*time_prop; %Determin F (focal length)

%Determine the transducer G factor used to find sigma_m

G(di)=sqrt((F/(pi*(c/f_peak(di))*…

(0.8224*(F/(2*a)))^2))^2  + 1);

%Determine alpha

alpha(di)=asin(a/F);

%Determine Ro value

Ro=(c/f_peak(di))/(1-cos(alpha(di)));

%Determine F/Ro value

F_Ro(di)=F/Ro;

fclose(fid_p);

fclose(fid_v);

end

end

end

N=di; %Save number of scans

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Calculate the possible NI                                      %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

for ri=1:N

%1 Asymmetric Ratio%%%%%%

p_asym(ri)=pc(ri)/pr(ri);

%%%%%%%%%%%%%%%%%%%%%%%%%

%2 Sigma_s%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

[sigma_s(ri),sigma_sa(ri)]=find_sigma_s(pc(ri),pr(ri),F_Ro(ri)…

,alpha(ri),c);

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%3 Sigma_m%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

sigma_m(ri)=find_sigma_m(pa(ri),f_peak(ri),2*G(ri),F,c);

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%4 Field Sigma%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

sigma_z(ri)=find_sigma_z(pa(ri),f_peak(ri),F,c);

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%5 Second Harmonic Ratio%%%%%%%%%%

h2(ri)=find_h2(P(:,ri),t(2)-t(1));

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%6 Absolute SI%%%%%%%%%%%%%%%%%%%%%%%%%%

[SI_fa15(ri),SI_fa2(ri)]=fa_si(P(:,ri));

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Determine the extrapolation gain, Gv

Gv=volt(ri)/volt(ref_low);

%7 Relative SI%%%%%%%%%%%%%%%%%%%%%%%%%%%

SI_me(ri)=my_si(P(:,ri),P(:,ref_low),Gv);

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%8 Focal Pressues%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

Pce(ri)=100*abs(pc(ri)-Gv*pc(ref_low))/pc(ri);

Pre(ri)=100*abs(pr(ri)-Gv*pr(ref_low))/pr(ri);

Pae(ri)=100*abs(pa(ri)-Gv*pa(ref_low))/pa(ri);

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Show that above is sensitive to value of ref_low

%Determine linearly extrapolated pressures for plotting

pc_lin(ri)=Gv*pc(ref_low);

pr_lin(ri)=Gv*pr(ref_low);

pa_lin(ri)=Gv*pa(ref_low);

end

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Determine value of extrapolation factor when error is no longer %

%acceptable                                                      %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Find spline curve representation of pc,pr, and pa data that can

%be used to extrapolate pressure values at intermediate voltages.

%(Polynomial Extrapolation will increase error at low voltages

%since curve will not pass through data points).

SP_pc=spline(volt,pc);

SP_pr=spline(volt,pr);

SP_pa=spline(volt,pa);

%Find the largest factor for which the error for all smaller

%factors is less than the acceptable error level.

Vce=fzero('find_extrap_factor',volt(ceil(length(volt)/2)),[],…

SP_pc,pc,volt,Npol,extrap_err);

Vre=fzero('find_extrap_factor',volt(ceil(length(volt)/2)),[],…

SP_pr,pr,volt,Npol,extrap_err);

Vae=fzero('find_extrap_factor',2*max([Vce Vre]),[],…

SP_pa,pa,volt,Npol,extrap_err);

%Determine the error voltages about this point

Vce1=fzero('find_extrap_factor',Vce,[],SP_pc,pc,volt,Npol,…

extrap_err-dc/2);

Vce2=fzero('find_extrap_factor',Vce,[],SP_pc,pc,volt,Npol,…

extrap_err+dc/2);

Vre1=fzero('find_extrap_factor',Vre,[],SP_pr,pr,volt,Npol,…

extrap_err-dr/2);

Vre2=fzero('find_extrap_factor',Vre,[],SP_pr,pr,volt,Npol,…

extrap_err+dr/2);

Vae1=fzero('find_extrap_factor',Vae,[],SP_pa,pa,volt,Npol,…

extrap_err-da/2);

Vae2=fzero('find_extrap_factor',Vae,[],SP_pa,pa,volt,Npol,…

extrap_err+da/2);

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Determine Values of NI when error is no longer acceptable       %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Determine Polynomials to fit the NI

SPasym=spline(volt,p_asym);

SPsigs=spline(volt,sigma_s);

SPsigsa=spline(volt,sigma_sa);

SPsigm=spline(volt,sigma_m);

SPsigz=spline(volt,sigma_z);

SPh2=spline(volt,h2);

SPsi15=spline(volt,SI_fa15);

SPsi2=spline(volt,SI_fa2);

SPsir=spline(volt,SI_me);

SPce=spline(volt,Pce);

SPre=spline(volt,Pre);

SPae=spline(volt,Pae);

%Determine NI at values of acceptable error voltage

VAL_pasym=ppval(SPasym,[Vce Vre Vae]');

VAL_sigs(1,:)=ppval(SPsigs,[Vce Vre Vae]')';

VAL_sigs(2,:)=ppval(SPsigsa,[Vce Vre Vae]')';

VAL_sigm=ppval(SPsigm,[Vce Vre Vae]');

VAL_sigz=ppval(SPsigz,[Vce Vre Vae]');

VAL_h2=ppval(SPh2,[Vce Vre Vae]');

VAL_si(1,:)=ppval(SPsi15,[Vce Vre Vae]')';

VAL_si(2,:)=ppval(SPsi2,[Vce Vre Vae]')';

VAL_sir=ppval(SPsir,[Vce Vre Vae]');

[VAL_pfocal(1)]=ppval(SPce,Vce);

[VAL_pfocal(2)]=ppval(SPre,Vre);

[VAL_pfocal(3)]=ppval(SPae,Vae);

%Determin NI values corresponding to suspected error bars (Error

%in extrapolation factor).

ERR_pasym=[abs(ppval(SPasym,Vce2)-ppval(SPasym,Vce1)) ...

abs(ppval(SPasym,Vre2)-ppval(SPasym,Vre1)) ...

abs(ppval(SPasym,Vae2)-ppval(SPasym,Vae1))];

ERR_sigs=[abs(ppval(SPsigs,Vce2)-ppval(SPsigs,Vce1)) ...

abs(ppval(SPsigs,Vre2)-ppval(SPsigs,Vre1)) ...

abs(ppval(SPsigs,Vae2)-ppval(SPsigs,Vae1)); ...

abs(ppval(SPsigsa,Vce2)-ppval(SPsigsa,Vce1)) ...

abs(ppval(SPsigsa,Vre2)-ppval(SPsigsa,Vre1)) ...

abs(ppval(SPsigsa,Vae2)-ppval(SPsigsa,Vae1))];

ERR_sigm=[abs(ppval(SPsigm,Vce2)-ppval(SPsigm,Vce1)) ...

abs(ppval(SPsigm,Vre2)-ppval(SPsigm,Vre1)) ...

abs(ppval(SPsigm,Vae2)-ppval(SPsigm,Vae1))];

ERR_sigz=[abs(ppval(SPsigz,Vce2)-ppval(SPsigz,Vce1)) ...

abs(ppval(SPsigz,Vre2)-ppval(SPsigz,Vre1)) ...

abs(ppval(SPsigz,Vae2)-ppval(SPsigz,Vae1))];

ERR_h2=[abs(ppval(SPh2,Vce2)-ppval(SPh2,Vce1)) ...

abs(ppval(SPh2,Vre2)-ppval(SPh2,Vre1)) ...

abs(ppval(SPh2,Vae2)-ppval(SPh2,Vae1))];

ERR_si=[abs(ppval(SPsi15,Vce2)-ppval(SPsi15,Vce1)) ...

abs(ppval(SPsi15,Vre2)-ppval(SPsi15,Vre1)) ...

abs(ppval(SPsi15,Vae2)-ppval(SPsi15,Vae1)); ...

abs(ppval(SPsi2,Vce2)-ppval(SPsi2,Vce1)) ...

abs(ppval(SPsi2,Vre2)-ppval(SPsi2,Vre1)) ...

abs(ppval(SPsi2,Vae2)-ppval(SPsi2,Vae1))];

ERR_sir=[abs(ppval(SPsir,Vce2)-ppval(SPsir,Vce1)) ...

abs(ppval(SPsir,Vre2)-ppval(SPsir,Vre1)) ...

abs(ppval(SPsir,Vae2)-ppval(SPsir,Vae1))];

ERR_pfocal=[abs(ppval(SPce,Vce2)-ppval(SPce,Vce1)) ...

abs(ppval(SPre,Vre2)-ppval(SPre,Vre1)) ...

abs(ppval(SPae,Vae2)-ppval(SPae,Vae1))];

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Plot the results                                                %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Plot the focal pressures

figure(1)

clf

plot(v_pp,pc/1e6,'o-')

hold

grid

plot(v_pp,pa/1e6,'rx-.')

plot(v_pp,pr/1e6,'gd--')

plot(v_pp,pc_lin/1e6)

plot(v_pp,pa_lin/1e6,'r-.')

plot(v_pp,pr_lin/1e6,'g--')

xlabel('V_p_p (V)')

ylabel('Pressure at Focus (MPa)')

legend(' = Peak Compressional Pressure (MPa)',…

' = Average Peak Pressure (MPa)',…

' = Peak Rarefractional Pressure (MPa)');

title(info);

%%%%%%%%%%%%%

%THESIS PLOT%

%%%%%%%%%%%%%

figure(2)

clf

subplot(321)

semilogx(v_pp,p_asym,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

semilogx(v_pp,VAL_pasym(1)*ones(1,length(v_pp)),…

'r-','LineWidth',2);

semilogx(v_pp,VAL_pasym(2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_pasym(3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

xlabel('v_p_p (V)')

ylabel('Pulse Asymmetry (p_c/p_r)')

if pa_in==1

legend('= Indicator','= p_c Threshold','= p_r Threshold',…

'= p_a_v_g Threshold');

else

legend('= Indicator','= p_c Threshold','= p_r Threshold');

end

title('(a)');

subplot(322)

semilogx(v_pp,sigma_sa,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

semilogx(v_pp,VAL_sigs(2,1)*ones(1,length(v_pp)),…

'r-','LineWidth',2);

semilogx(v_pp,VAL_sigs(2,2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_sigs(2,3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

xlabel('v_p_p (V)')

ylabel('\sigma_s (From P_a_s_y_m)')

title('(b)');

subplot(323)

semilogx(v_pp,sigma_s,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

semilogx(v_pp,VAL_sigs(1,1)*ones(1,length(v_pp)),…

'r-','LineWidth',2);

semilogx(v_pp,VAL_sigs(1,2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_sigs(1,3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

xlabel('v_p_p (V)')

ylabel('\sigma_s (From p_r)')

title('(c)');

subplot(324)

semilogx(v_pp,sigma_m,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

semilogx(v_pp,VAL_sigm(1)*ones(1,length(v_pp)),…

'r-','LineWidth',2);

semilogx(v_pp,VAL_sigm(2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_sigm(3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

xlabel('v_p_p (V)')

ylabel('\sigma_m')

title('(d)');

subplot(325)

semilogx(v_pp,sigma_z,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

semilogx(v_pp,VAL_sigz(1)*ones(1,length(v_pp)),…

'r-','LineWidth',2);

semilogx(v_pp,VAL_sigz(2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_sigz(3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

xlabel('v_p_p (V)')

ylabel('\sigma_z')

title('(e)');

subplot(326)

semilogx(v_pp,h2,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

semilogx(v_pp,VAL_h2(1)*ones(1,length(v_pp)),'r-','LineWidth',2);

semilogx(v_pp,VAL_h2(2)*ones(1,length(v_pp)),'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_h2(3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

xlabel('v_p_p (V)')

ylabel('H_I_I')

title('(f)');

figure(3)

clf

subplot(321)

semilogx(v_pp,SI_fa15,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

xlabel('v_p_p (V)')

ylabel('SI (From 1.5\omega_1)')

semilogx(v_pp,VAL_si(1,1)*ones(1,length(v_pp)),…

'r-','LineWidth',2);

semilogx(v_pp,VAL_si(1,2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1

semilogx(v_pp,VAL_si(1,3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

legend('= Indicator','= p_c Threshold','= p_r Threshold',…

'= p_a_v_g Threshold');

else

legend('= Indicator','= p_c Threshold','= p_r Threshold');

end

title('(a)');

subplot(322)

semilogx(v_pp,SI_fa2,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

xlabel('v_p_p (V)')

ylabel('SI (From 2\omega_1)')

semilogx(v_pp,VAL_si(2,1)*ones(1,length(v_pp)),…

'r-','LineWidth',2);

semilogx(v_pp,VAL_si(2,2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_si(2,3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

title('(b)');

subplot(323)

semilogx(v_pp,SI_me,'o-','LineWidth',2,'MarkerSize',3)

grid

hold

xlabel('v_p_p (V)')

ylabel('Relative SI')

semilogx(v_pp,VAL_sir(1)*ones(1,length(v_pp)),'r-','LineWidth',2);

semilogx(v_pp,VAL_sir(2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2);

if pa_in==1;

semilogx(v_pp,VAL_sir(3)*ones(1,length(v_pp)),…

'r--','LineWidth',2);

end

title('(c)');

subplot(324)

semilogx(v_pp,Pce,'o-','LineWidth',2,'MarkerSize',3)

hold

grid

semilogx(v_pp,VAL_pfocal(1)*ones(1,length(v_pp)),…

'r-','LineWidth',2)

xlabel('v_p_p (V)')

ylabel('P_c_e')

title('(d)');

subplot(325)

semilogx(v_pp,Pre,'o-','LineWidth',2,'MarkerSize',3)

hold

grid

semilogx(v_pp,VAL_pfocal(2)*ones(1,length(v_pp)),…

'r-.','LineWidth',2)

xlabel('v_p_p (V)')

ylabel('P_r_e')

title('(e)');

subplot(326)

semilogx(v_pp,Pae,'o-','LineWidth',2,'MarkerSize',3)

hold

grid

if pa_in==1

semilogx(v_pp,VAL_pfocal(3)*ones(1,length(v_pp)),…

'r--','LineWidth',2)

end

xlabel('v_p_p (V)')

ylabel('P_a_e')

title('(f)');

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Plot the threshold values of NI's

figure(4)

clf

bar(VAL_pasym,'c')

hold

grid

errorbar(VAL_pasym,ERR_pasym,'.')

ylabel('Pulse Asymmetry (p_c/p_r)')

text([.8 1.8 2.8],[-.2 -.2 -.2],{'p_c Threshold' 'p_r Threshold'…

'p_a_v_g Threshold'})

figure(5)

clf

subplot(311)

bar(VAL_sigm,'c')

hold

grid

errorbar(VAL_sigm,ERR_sigm,'.')

ylabel('\sigma_m')

subplot(312)

bar(VAL_sigz(1,:),'c')

hold

grid

errorbar(VAL_sigz,ERR_sigz,'.')

ylabel('\sigma_z')

subplot(313)

subplot(121)

bar(VAL_sigs(1,:),'c')

hold

grid

errorbar(VAL_sigs(1,:),ERR_sigs(1,:),'.')

ylabel('\sigma_s')

title('p_r Based')

text([.7 1.7 2.7],[-.2*max(VAL_sigs(1,:)) -.2*max(VAL_sigs(1,:))…

-.2*max(VAL_sigs(1,:))],{'p_c Threshold' 'p_r Threshold'…

'p_a_v_g Threshold'})

subplot(122)

bar(VAL_sigs(2,:),'c')

hold

grid

errorbar(VAL_sigs(2,:),ERR_sigs(2,:),'.')

ylabel('\sigma_s')

title('p_c/p_r Based')

text([.7 1.7 2.7],[-.2*max(VAL_sigs(2,:)) -.2*max(VAL_sigs(2,:))…

-.2*max(VAL_sigs(2,:))],{'p_c Threshold' 'p_r Threshold'…

'p_a_v_g Threshold'})

figure(6)

clf

bar(VAL_h2,'c')

hold

grid

errorbar(VAL_h2,ERR_h2,'.')

ylabel('Second Harmonic Ratio')

text([.8 1.8 2.8],[-.1*max(VAL_h2) -.1*max(VAL_h2) …

-.1*max(VAL_h2)],{'p_c Threshold' 'p_r Threshold'…

'p_a_v_g Threshold'})

figure(7)

clf

subplot(211)

bar(VAL_si(1,:),'c')

hold

grid

errorbar(VAL_si(1,:),ERR_si(1,:),'.')

ylabel('SI based on f_a')

title('f_a = 1.5f_o')

subplot(212)

bar(VAL_si(2,:),'c')

hold

grid

errorbar(VAL_si(2,:),ERR_si(2,:),'.')

ylabel('SI based on f_a')

title('f_a = 2f_o')

text([.8 1.8 2.8],[-.2*max(VAL_si(2,:)) -.2*max(VAL_si(2,:)) …

-.2*max(VAL_si(2,:))],{'p_c Threshold' 'p_r Threshold'…

'p_a_v_g Threshold'})

figure(8)

clf

bar(VAL_sir,'c')

hold

grid

errorbar(VAL_sir,ERR_sir,'.')

ylabel('Relative SI')

text([.8 1.8 2.8],[-.1*max(VAL_sir) -.1*max(VAL_sir) …

-.1*max(VAL_sir)],{'p_c Threshold' 'p_r Threshold'…

'p_a_v_g Threshold'})

figure(9)

clf

bar(VAL_pfocal,'c')

hold

grid

errorbar(VAL_pfocal,ERR_pfocal,'.')

ylabel('Relative Focal Pressure')

text([.8 1.8 2.8],[-.1*max(VAL_sir) -.1*max(VAL_sir) …

-.1*max(VAL_sir)],{'p_c Threshold' 'p_r Threshold'…

'p_a_v_g Threshold'})

figure(10)

clf

plot(volt,v_pp)

grid

xlabel('volt')

ylabel('v_p_p')

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

%Save the results                                               %

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%

sv	= input('Save data: (y/n) ','s');

if sv=='y'

n=input('Enter filename to save NI data and errors: ','s');

txtfile=['NI_data/',n,'.txt'];

fid=fopen(txtfile,'a');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',VAL_pasym);

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',ERR_pasym);

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\n',…

VAL_sigs');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\n',…

ERR_sigs');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',VAL_sigm');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',ERR_sigm');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',VAL_sigz');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',ERR_sigz');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',VAL_h2);

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',ERR_h2);

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\n',…

VAL_si');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\t%2.4f\n',…

ERR_si');

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',VAL_sir);

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',ERR_sir);

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',VAL_pfocal);

fprintf(fid,'%2.4f\t%2.4f\t%2.4f\n',ERR_pfocal);

fclose(fid);

end

# Subfunctions to Find Values of Some Indices

function [sigma_s,sigma_sa]=find_sigma_s(pc,pr,F_Ro,alpha,co)

%This is a MATLAB function that solves for sigma_s in order to

%evaluate the nonlinearity of a signal at a given voltage setting.

%Sigma_s is the value of sigma defined by Ostrovskii and Sutin,

%but derived using my evaluation.

%Inputs

%    pc = peak compressional pressure at the focus.

%    pr = peak rarefractional pressure at the focus.

%    F_Ro = F/Ro amplification factor

%    alpha = half-angle of transducer

%    co = small-signal sound speed (Determine from temperature).

%Medium properties (Saved in this file)

%    beta = nonlinear parameter beta=(1+B/2A)

%    rho_o = static density

%Output

%    sigma_s = the calculated non-linear parameter based on the

%              peak rarefractional pressure.

%    sigma_sa = the calculated non-linear parameter based on the

%               asymmetric ratio.

%*****************************************************************

beta=3.5;

rho_o=1000;

%Find term to multiply the pressure

s=pi*beta*log(F_Ro)/(2*(alpha*sin(alpha))*rho_o*co^2);

%Find sigma_s based on pr and G

sigma_s=s*pr/(1-s*pr);

%Find sigma_s based on pulse asymmetry

a=pc/pr;

sigma_sa=(a-1)/(a+1);

function [sigma_m]=find_sigma_m(pa,f,G,z,co)

%This is a MATLAB function that solves for sigma_m in order to

%evaluate the nonlinearity of a signal at a given voltage setting.

%Inputs

%    pa = peak average pressure at the focus.

%    f = center frequency of transducer.

%    G = transducer gain.

%    z = focal length of the transducer.

%    co = small-signal sound speed (Determined from temperature).

%Medium properties (Saved in this file)

%    beta = nonlinear parameter beta=(1+B/2A)

%    rho_o = static density

%Output

%    sigma_m = the calculated non-linear parameter

%*****************************************************************

beta=3.5;

rho_o=1000;

sigma_m=z*pa*2*pi*f*beta*(log(G+sqrt(G^2 - 1))/sqrt(G^2 -...

1))/(rho_o*co^3);

function [sigma_z]=find_sigma_z(pa,f,z,co)

%This is a MATLAB function that solves for sigma_z in order to

%evaluate the nonlinearity of a signal at a given voltage setting.

%Inputs

%    pa = peak average pressure at the focus.

%    f = center frequency of transducer.

%    z = focal length of the transducer.

%    co = small-signal sound speed (Determined from temperature).

%Medium properties (Saved in this file)

%    beta = nonlinear parameter beta=(1+B/2A)

%    rho_o = static density

%Output

%    sigma_z = the calculated non-linear parameter

%*****************************************************************

beta=3.5;

rho_o=1000;

sigma_z=z*pa*2*pi*f*beta/(rho_o*co^3);

function [h2]=find_h2(p,dt);

%This is a MATLAB function that solves for the second harmonic

%ratio in order to evaluate the nonlinearity of a signal at a

%given voltage setting.

%Inputs

%    p = current pressure waveform in time.

%    dt = time increment of waveform

%Output

%    h2 = the second harmonic ratio.

%*****************************************************************

%Remove DC

p=p-mean(p);

%Find the measured spectrum

P_true=abs(fftshift(fft(p,2048)));

M=length(P_true);

Pt=P_true((M/2+1):M);

%Find the frequency values

freq=[0:((M/2)-1)]*(1/dt)/(M-1);

%Find maximum frequency in pulse

[P_max1,n]=max(Pt);

f_max1=freq(n);

%Find second harmonic value

n2=2*n-1;

old_max=Pt(n2);

N=1;

pk=0;

while pk==0

P=Pt((n2-N):(n2+N));

f=freq((n2-N):(n2+N))';

[P_max2,n2p]=max(P);

if P_max2==old_max

pk=1;

end

old_max=P_max2;

N=N+1;

end

h2=P_max2/P_max1;

function [si_15,si_2]=fa_si(p);

%This is a MATLAB function that solves for the SI based on f_a in

%order to evaluate the nonlinearity of a signal at a given voltage

%setting.

%Inputs

%    p = current pressure waveform in time.

%Output

%    si_15 = the spectral index with f_a of 1.5*fundamental.

%    si_2 = the spectral index with f_a of 2*fundamental.

%*****************************************************************

%Remove DC

p=p-mean(p);

%Find the measured spectrum

P_true=abs(fftshift(fft(p,2048)));

M=length(P_true);

Pt=P_true((M/2+1):M);

%Find maximum frequency in pulse

[P_max,n]=max(Pt);

%Determine the different f_a values to be used.

N_fa15=floor(1.5*n - 1);

N_fa2=2*n;

%Integrate for each fa

P_fa15=Pt(N_fa15:length(Pt));

P_fa2=Pt(N_fa2:length(Pt));

num15=sum(P_fa15);

num2=sum(P_fa2);

den=sum(Pt);

%Find each si

si_15=num15/den;

si_2=num2/den;

function [si]=my_si(p,p_low,Gv);

%This is a MATLAB function that solves for my version of the SI in

%order to evaluate the nonlinearity of a signal at a given voltage

%setting.

%Inputs

%    p = current pressure waveform in time.

%    p_low = low voltage pressure waveform in time.

%    Gv = current value of the voltage gain

%Output

%    si = my version of the spectral index.

%*****************************************************************

%Find P_low the low voltage spectrum

P_low=abs(fft(p_low));

%Find the measured spectrum

P_true=abs(fft(p));

%Find the estimated spectrum

P_est=P_low*Gv;

%Find the si

num=sum((P_true-P_est).^2);

den=sum(P_true.^2);

si=num/den;

Function Used to Find Threshold Voltages

function [diff_err]=find_extrap_factor(volt_extrap,SP,p,...

volt,Npol,lin_err)

%This is a MATLAB function that is used to find the maximum

%allowed value of extrapolation voltage given the acceptable value

%for extrapolation error.

%Inputs

%    volt_extrap = current value of extrapolation voltage

%    SP = Spline curve coefficients to determine pressure values

%         at current voltage.

%    p = Meausred pressure values

%    volt = Values of extrapolation factor at measurement points

%    Npol = Degree of polynomial used to fit error curves.

%    lin_err = acceptable value for extrapolation error.

%Output

%    diff_err = difference between the peak error and allowed

%               error.

%*****************************************************************

p_ref=ppval(SP,volt_extrap);

for ri=1:length(volt)

%Find Current Extrapolation Factor

Gv=volt(ri)/volt_extrap;

%Find Current Error Values

Pe(ri)=100*abs(p(ri)-Gv*p_ref)/p(ri);

end

%Determine Coefficients of Error Polynomial

Pole=polyfit(volt,Pe,Npol);

%Set voltage values overwhich error will be computed

dv=volt(2)-volt(1); %Set step in voltage.

vlt=0:dv:volt_extrap;

%Determine the peak error in this range

peak_error=max(polyval(Pole,vlt));

%Determine the difference in the error

diff_err = peak_error-lin_err;

Miscellaneous other Subfunctions

function [c]=CfromT(Tc)

%SOUNDSPEED

%   This is a function that calculates the speed of sound based on

%   temperature.

%   INPUT:

%      Tc - Temperature of the water in degrees C.

%      plt - Determines if data is to be plotted 'y'.

%   OUTPUT:

%      c - Speed of sound found from water temperature.

%Now calculate c2 based on Tc

T=Tc/100;

c=1402.7 + 488*T - 482*(T^2) + 135*(T^3);

%Equation 5.6.8 from Kinsler with Pg = 0.

function [fpeak]=find_fpeak(p,time)

%This is a MATLAB function that finds the location of the

%frequency peak.

%Inputs

%    p = pressure waveform.

%    time = corresponding time values

%Output

%    fpeak = location of peak in Hz

%*****************************************************************

%Determine time step.

dt=time(2)-time(1);

%Determine value for each frequency

Ps=abs(fft(p));

M=length(Ps);

%Find corresponding freq. values

d_f1=[0:(M/2-1)]*2*pi/M;

d_f2=[(M/2):(M-1)]*2*pi/M - 2*pi;

freq=d_f1*(1/dt)/(2*pi);

[m,n]=max(Ps(1:M/2));

fpeak=freq(n);